# Annex 2

# Financial Offer Form

Quotation Ref: 3/2023/Mission Water Cyprus

Supplier’s Details:

|  |  |
| --- | --- |
| Type of Business (Company/Self-employed – Freelancer) |  |
| Company Name/supplier name:  |  |
| Address: |  |
| Tel/ e-mail address:  |  |
| VAT or Tax registration No: |  |
| Name of Legal Representative:  |  |

Schedule of Rates:

Rates and Total price of each item is to be quoted in **Euros** **Including VAT and any other Tax or Fee** that should apply for any reason.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **A/A** | **Service / Task** | **Unit** | **Quantity** | **Unit Price (€)** | **Unit VAT (€)** | **Total (€)** |
| **A. Water Metering Network** |
| A1 | Supply of water meters with GPSR technology with all the necessary components for the network of water meters to be delivered functional. * Battery powered
* GPRS module can be either integrated onto the water meter or separated
* DN25 (1") Multi-Jet water meter, Q3=6.3 m3/h
* mechanical indicators (in addition to digital)
* Data transmission frequency: 1 time per day or more
 | pcs | 25 |  |  |  |
| A2 | Installation of the water meters in the green spaces (including the necessary connection parts) – See Annex | pcs | 25 |  |  |  |
| A3 | Supply of concrete water meter box | pcs | 25 |  |  |  |
| A4 | Placement of the concrete water meter box | pcs | 25 |  |  |  |
|  |
| **B. Online Platform** |
| B1 | Setting up an online platform to monitor the water meters to be installed. | Platform | 1 |  |  |  |
| B2 | Subscription fee of the online platform. | Years | 5 |  |  |  |
| B3 | Training session to the personnel of the technical service of the Municipality of Aglantzia on the use of the online platform. | Session | 1 |  |  |  |
| B4 | Manual on the use of the online platform. | Report | 1 |  |  |  |
|  |
| **C. Report** |
| C1 | Report on the work performed including photographs before and after the installation of the water meters. | Report | 1 |  |  |  |
|  |
| **GRAND TOTAL (€)** |  |

The Participant I am representing (“We”) has examined, and accepts in full and in its entirety, the content of this quotation document (including subsequent Clarification Notes issued by the Contracting Authority). We hereby accept the contents thereto in their entirety, without reservation or restriction. We also understand that any disagreement, contradiction, alteration, deviation or omission shall lead to our offer not being considered any further. We offer to provide, in accordance with the terms of the tender document and the conditions and time limits laid down, without reservation or restriction, the requirements of this Request for Quotations (RfQ).

*\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_*

*Signature Date*