# Annex 2

# Financial Offer Form

Quotation Ref: 28/2023/Zero Drop Schimatari

Supplier’s Details:

|  |  |
| --- | --- |
| Type of Business (Company/Self-employed – Freelancer) |  |
| Company Name/supplier name: |  |
| Address: |  |
| Tel/ e-mail address: |  |
| VAT or Tax registration No: |  |
| Name of Legal Representative: |  |

Schedule of Rates:

Rates and Total price of each item is to be quoted in **Euros** **Including VAT and any other Tax or Fee** that should apply for any reason.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **A/A** | **Service / Task** | **Unit** | **Quantity** | **Unit Price (€)** | **Unit VAT (€)** | **Total (€)** |
| **A. Filter Backwash Water Recirculation and Reuse System** | | | | | | | |
| **A1** | **A fully operational and on duty Filter Backwash Water Recirculation and Reuse System at the Water Treatment Plant of Kallithea, Municipality of Tanagra, in compliance with the technical specifications presented in the Annex of the present document.**  **The works included are the following:** | **System** | **1** | **=sum(A1.1 +A1.2+A1.3+ A1.4)** | **=sum(A1.1 +A1.2+A1.3+ A1.4)** | **=sum(A1.1 +A1.2+A1.3+ A1.4)** |
| A1.1 | Preparatory works | Lump Sum | 1 |  |  |  |
| A1.2 | Delivery of equipment | Lump Sum | 1 | =sum(A1.2.1 to A1.14.) | =sum(A1.2.1 to A1.14.) | =sum(A1.2.1 to A1.14.) |
| A1.2.1 | Pipe flocculator | pcs | 1 |  |  |  |
| A1.2.2 | Dosing pump for polymer (including tank for chemicals) | pcs | 1 |  |  |  |
| A1.2.3 | Dosing pump for coagulant (including tank for chemicals) | pcs | 1 |  |  |  |
| A1.2.4 | Dosing pump for sodium hydroxide (including tank for chemicals) | pcs | 1 |  |  |  |
| A1.2.5 | Sedimentation tank – Lamella type | pcs | 1 |  |  |  |
| A1.2.6 | Drying unit for rejected mud | pcs | 1 |  |  |  |
| A1.2.7 | Intermediate tank of 10 m3 | pcs | 1 |  |  |  |
| A1.2.8 | Pressure filter of 36” | pcs | 1 |  |  |  |
| A1.2.9 | Water feed pump to pipe flocculator | pcs | 1 |  |  |  |
| A1.2.10 | Filter feed pump | pcs | 1 |  |  |  |
| A1.2.11 | Control panel / electric board | pcs | 1 |  |  |  |
| A1.2.12 | Coagulant for the start-up | Lt | 25 |  |  |  |
| A1.2.13 | Polymer for the start-up | Lt | 25 |  |  |  |
| A1.2.14 | Sodium hydroxide for the start-up | lt | 25 |  |  |  |
| A1.3 | Hydraulic and electrical connections | Lump Sum | 1 |  |  |  |
| A1.4 | Testing and starting-up | Lump Sum | 1 |  |  |  |
|  | | | | | | |
| **B. Operation and Maintenance Manual** | | | | | | |
| B1 | Operation and Maintenance Manual, including troubleshooting section. | Manual | 1 |  |  |  |
|  | | | | | | |
| **C. Training** | | | | | | |
| C1 | Training session for the employees of the Technical Service of the Municipality of Tanagra. | Session | 1 |  |  |  |
|  | | | | | | |
| **GRAND TOTAL (€)** | | | | | | =sum(A1+B1+C1) |

The Participant I am representing (“We”) has examined, and accepts in full and in its entirety, the content of this quotation document (including subsequent Clarification Notes issued by the Contracting Authority). We hereby accept the contents thereto in their entirety, without reservation or restriction. We also understand that any disagreement, contradiction, alteration, deviation or omission shall lead to our offer not being considered any further. We offer to provide, in accordance with the terms of the tender document and the conditions and time limits laid down, without reservation or restriction, the requirements of this Request for Quotations (RfQ).

*\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_*

*Signature Date*