# Annex 2

# Financial Offer Form

Quotation Ref: 02/2023/Mission Water Cyprus

Supplier’s Details:

|  |  |
| --- | --- |
| Type of Business (Company/Self-employed – Freelancer) |  |
| Company Name/supplier name:  |  |
| Address: |  |
| Tel/ e-mail address:  |  |
| VAT or Tax registration No: |  |
| Name of Legal Representative:  |  |

Schedule of Rates:

Rates and Total price of each item is to be quoted in **Euros** **Including VAT and any other Tax or Fee** that should apply for any reason.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **A/A** | **Service / Task** | **Unit** | **Quantity** | **Unit Price (€)** | **Unit VAT (€)** | **Total (€)** |
| **A. Treated Wastewater Refill Station** |
| A1 | Connection piping (PE, Φ50, 10 atm) between the treated wastewater inlet to the park and the refill station. The pipe will be placed underground (depth 30 – 40 cm). | m | 130 – 150  |  |  |  |
| A2 | Digging and covering for the placement of the piping (30 – 40 cm). | m | 130 – 150  |  |  |  |
| A3 | Supply, delivery and installation of a plastic tank of 20 m3 (indicative diameter 3,40 m and indicative height 2,90 m).  | pc | 1 |  |  |  |
| A4 | Level switch for the tank | pc | 1 |  |  |  |
| A5 | Electrovalve to stop / start the filling of the tank. | pc | 1 |  |  |  |
| A6 | Reinforced concrete slab.  | m3 | 3,20  |  |  |  |
| A7 | Dosing pump (minimum 3lt/h). | pc | 1 |  |  |  |
| A8 | Redox sensor. | pc | 1 |  |  |  |
| A9 | Hydraulic and electrical installation of the chlorination system. | Lump Sum | 1 |  |  |  |
| A10 | Electric pump, 1-phase, at 25 m3/h, 2 – 3 bars (submersible or surface) | pc | 1  |  |  |  |
| A11 | Hydraulic and electrical installation of the pump | Lump Sum | 1 |  |  |  |
| A12 | Connection piping between the tank and the water track. The connection piping between the tank and the water track. The piping will be flexible HDPE, PN 10 of the necessary length. | Lump Sum | 1 |  |  |  |
| A13 | Construction of a tap and sink for potable water. | Set | 1 |  |  |  |
| A14 | Hydraulic connection of the sink / tap. | Lump Sum | 1 |  |  |  |
| A15 | Construction of a simple fence and gate. | Lump Sum | 1 |  |  |  |
| A16 | Electrical board for the pump, the dosing pump and the electrovalve. | Lump Sum | 1 |  |  |  |
|  |
| **B. Expansion of the Irrigation Network** |
| B1 | Irrigation programmer 12-station with Wifi | pc | 1 |  |  |  |
| B2 | Electrovalve of 2” | pcs | 10 |  |  |  |
| B3 | Electrovalve maniforld | pc | 1 |  |  |  |
| B4 | Disc filter 2” | pc | 1 |  |  |  |
| B5 | Plastic, waterproof box for programmer | pc | 1 |  |  |  |
| B6 | Irrigation pipe Φ50, 6 atm | m | 1.700 |  |  |  |
| B7 | Irrigation pipe Φ25, 4 atm | m | 4.000 |  |  |  |
| B8 | Saddle 50x1 | pcs | 60 |  |  |  |
| B9 | Starter 25x1 | pcs | 60 |  |  |  |
| B10 | Cap 25 mm | pcs | 60 |  |  |  |
| B11 | Connection 25 mm | pcs | 60 |  |  |  |
| B12 | Drip sprinkler 0 – 70 lt/h | pcs | 800 |  |  |  |
| B13 | Ground hook | pcs | 1.300 |  |  |  |
| B14 | Groundwork, sleeve installation and rehabilitation  | Lump Sum | 1 |  |  |  |
| B15 | Anything else required for the proper operation of the irrigation system | Lump Sum | 1 |  |  |  |
|  |
| **C. Drawings** |
| C1 | AS BUILT drawings (hydraulic and electrical) for both components of the work. | Lump Sum | 1 |  |  |  |
|  |
| **GRAND TOTAL (€)** |  |

The Participant I am representing (“We”) has examined, and accepts in full and in its entirety, the content of this quotation document (including subsequent Clarification Notes issued by the Contracting Authority). We hereby accept the contents thereto in their entirety, without reservation or restriction. We also understand that any disagreement, contradiction, alteration, deviation or omission shall lead to our offer not being considered any further. We offer to provide, in accordance with the terms of the tender document and the conditions and time limits laid down, without reservation or restriction, the requirements of this Request for Quotations (RfQ).

*\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_*

*Signature Date*