# Annex 2

# Financial Offer Form

Quotation Ref: 8/2023/Zero Drop Heraklion

Supplier’s Details:

|  |  |
| --- | --- |
| Type of Business (Company/Self-employed – Freelancer) |  |
| Company Name/supplier name: |  |
| Address: |  |
| Tel/ e-mail address: |  |
| VAT or Tax registration No: |  |
| Name of Legal Representative: |  |

Schedule of Rates:

Rates and Total price of each item is to be quoted in **Euros** **Including VAT and any other Tax or Fee** that should apply for any reason.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **A/A** | **Service / Task** | **Unit** | **Quantity** | **Unit Price (€)** | **Unit VAT (€)** | **Total (€)** |
| **A. Pipes in D4 Tank** | | | | | | |
| A1 | PE pipes 110mm, 20atm | m | 350 |  |  |  |
| A2 | Pressure relief valves | Pcs | 3 |  |  |  |
| A3 | Installation Cost (including the support of the pipes) | Lump sum | 1 |  |  |  |
|  | | | | | | |
| **B. Mesarmos Pumping Station** | | | | | | |
| B1 | Vertical multistage pump / motor (Q=60m3/h – H=93m – P=22kW) | pcs | 1 |  |  |  |
| B2 | Pump base unit | pcs | 1 |  |  |  |
| B3 | Gate valves, DN100, PN16 | pcs | 2 |  |  |  |
| B4 | Non return valve, DN100, PN16 | pcs | 1 |  |  |  |
| B5 | Electromagnetic Water Meter, (4-20mA, 0.10V), DN 100, PN16 | pcs | 1 |  |  |  |
| B6 | Pressure sensor, (4-20mA, 0.10V) | pcs | 2 |  |  |  |
| B7 | Pipe ASTM-A53, GR-B, Sch.40, DN 100 (114mm) | m | 6 |  |  |  |
| B8 | Steel Flanges DIN 2577, PN16, DN 100 | pcs | 8 |  |  |  |
| B9 | Galvanized Nuts and Bolts, M16X70 | pcs | 80 |  |  |  |
| B10 | Electric board | pcs | 1 |  |  |  |
| B11 | Inverter 30kW | pcs | 1 |  |  |  |
| B12 | GSM Router | pcs | 1 |  |  |  |
| B13 | E1VV-R cables, 5X50mm2 | m | 15 |  |  |  |
| B14 | HO7RN-F cables 4X25mm2 | m | 20 |  |  |  |
| B15 | Triangle Ground System | pcs | 1 |  |  |  |
| B16 | Grounding wire 25mm2 | m | 15 |  |  |  |
| B17 | Disassembly and transportation for recycling of all old equipment | Lump sum | 1 |  |  |  |
| B18 | New pumping equipment installation | Lump sum | 1 |  |  |  |
| B19 | Installation of all hydraulic equipment | Lump sum | 1 |  |  |  |
| B20 | Electrical installation | Lump sum | 1 |  |  |  |
| B21 | Programming and configuration of all electronic equipment | Lump sum | 1 |  |  |  |
| B22 | Grounding installation | Lump sum | 1 |  |  |  |
| B23 | Testing and startup (including the certificate of electrician / installer) | Lump sum | 1 |  |  |  |
|  | | | | | | |
| **C. Aspoxomata Pumping Station** | | | | | | |
| C1 | Vertical multistage pump / motor (Q=60m3/h – H=93m – P=22kW) | pcs | 1 |  |  |  |
| C2 | Pump base unit | pcs | 1 |  |  |  |
| C3 | Gate valves, DN100, PN16 | pcs | 2 |  |  |  |
| C4 | Non return valve, DN100, PN16 | pcs | 1 |  |  |  |
| C5 | Electromagnetic Water Meter, (4-20mA, 0.10V), DN 100, PN16 | pcs | 1 |  |  |  |
| C6 | Pressure sensor, (4-20mA, 0.10V) | pcs | 2 |  |  |  |
| C7 | Pipe ASTM-A53, GR-B, Sch.40, DN 100 (114mm) | m | 6 |  |  |  |
| C8 | Steel Flanges DIN 2577, PN16, DN 100 | pcs | 8 |  |  |  |
| C9 | Galvanized Nuts and Bolts, M16X70 | pcs | 80 |  |  |  |
| C10 | Electric board | pcs | 1 |  |  |  |
| C11 | Inverter 30kW | pcs | 1 |  |  |  |
| C12 | GSM Router | pcs | 1 |  |  |  |
| C13 | E1VV-R cables, 5X50mm2 | m | 15 |  |  |  |
| C14 | HO7RN-F cables 4X25mm2 | m | 20 |  |  |  |
| C15 | Triangle Ground System | pcs | 1 |  |  |  |
| C16 | Grounding wire 25mm2 | m | 15 |  |  |  |
| C17 | Disassembly and transportation for recycling of all old equipment | Lump sum | 1 |  |  |  |
| C18 | New pumping equipment installation | Lump sum | 1 |  |  |  |
| C19 | Installation of all hydraulic equipment | Lump sum | 1 |  |  |  |
| C20 | Electrical installation | Lump sum | 1 |  |  |  |
| C21 | Programming and configuration of all electronic equipment | Lump sum | 1 |  |  |  |
| C22 | Grounding installation | Lump sum | 1 |  |  |  |
| C23 | Testing and startup (including the certificate of electrician / installer) | Lump sum | 1 |  |  |  |
|  | | | | | | |
| **GRAND TOTAL (€)** | | | | | |  |

The Participant I am representing (“We”) has examined, and accepts in full and in its entirety, the content of this quotation document (including subsequent Clarification Notes issued by the Contracting Authority). We hereby accept the contents thereto in their entirety, without reservation or restriction. We also understand that any disagreement, contradiction, alteration, deviation or omission shall lead to our offer not being considered any further. We offer to provide, in accordance with the terms of the tender document and the conditions and time limits laid down, without reservation or restriction, the requirements of this Request for Quotations (RfQ).

*\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_*

*Signature Date*